## Slide 1
JEOL 2200FS training process (Bright field imaging only)
Intro to the 2200FS
(2 hours)
SAED
(1 hours)
STEM/EDS
(4 hours)
User hands-on
(2 hours)
Supervised start
(checkout)
Goal: within 1 week of Intro training
Cleared for independent trial?
NO
YES
Regular hours independent use
If more than
2 months w/o use
Goal: within 1 weeks of User hands-on
Optional modules
Lab activities
Resources
Myscope website
Transmission Electron Microscopy
Williams and Carter
EFTEM*
(2 hours)
*pending, ask for availability

## Slide 2
Intro to the 2200FS
(3 hours)
User hands-on
(3 hours)
Supervised start
(checkout)
Goal: within 1 week of Intro training
Cleared for independent trial?
NO
YES
Regular hours independent use
If more than
2 months w/o use
Goal: within 1 weeks of User hands-on
SAED
(2 hour)
Intro to STEM
(2 hours)
EFTEM*
(2 hours)
*pending, ask for availability
User hands-on STEM/EDS (2 hours)
JEOL2200FS training process