## Slide 1
NSC-815 Labs | 
Basic TEM operation | Overview of microscope components and vocabulary, how to load a sample into the specimen rod, loading a sample into the microscope, pre-usage checklist
Basic TEM alignment | Sample loading, turning on the beam, finding the beam, choosing a CL aperture, alignment steps
Astigmatism correction | Microscope alignment; how to identify and correct astigmatism (CL and OL); focus, over-focus, and under-focus
Bright field imaging | Bright-field and HRTEM imaging on Rio, apertures, metadata
Selected area electron diffraction | Loading DT holder, diffraction mode, beam stop, focusing diffraction pattern, not damaging the phosphor screen or Rio
Tilting | Tilting to zone axis, two-beam condition, dark-field TEM
STEM alignment and imaging | ASID mode, focusing and centering the ronchigram, CL stig, CL aperture, CBED, HAADF, ABF
EDS mapping | Collecting and quantifying EDS maps and “point-and-shoot” EDS spectra
Energy-filtered imaging | Inserting and aligning the slit, selecting the appropriate dispersion, selecting energy range
2200FS Training |  | 
TEM training (bright-field imaging only) Minimum two 3 hr sessions | Basic TEM operation | Overview of microscope components and vocabulary, how to load a sample into the specimen rod, loading a sample into the microscope, pre-usage checklist
 | Basic TEM alignment | Sample loading, turning on the beam, finding the beam, choosing a CL aperture, alignment steps
 | Astigmatism correction | Microscope alignment; how to identify and correct astigmatism (CL and OL); focus, over-focus, and under-focus
 | Bright field imaging | Bright-field and HRTEM imaging on Rio, apertures, metadata
SAED 2 hrs | Selected area electron diffraction | Loading DT holder, diffraction mode, beam stop, focusing diffraction pattern, not damaging the phosphor screen or Rio
 | Tilting | Tilting to zone axis, two-beam condition, dark-field TEM
STEM/EDS or EELS* Two 2 hr sessions | STEM alignment and imaging | ASID mode, focusing and centering the ronchigram, CL stig, CL aperture, CBED, HAADF, ABF
 | *EDS mapping | Collecting and quantifying EDS maps and “point-and-shoot” EDS spectra
EFTEM 2 hr session | Energy-filtered imaging | Inserting and aligning the slit, selecting the appropriate dispersion, selecting energy range

## Slide 2: MSU Center for Advanced Microscopy: 2200FS training vs. NSC 815 course
Topic | Training | NSC 815 course
Cost | $660 for instrument and staff time using our posted hourly rates, higher for advanced techniques | $400 in ‘pre-billed’ funds that can all be used for research during/ after course enrollment semester
Hours of hands-on instructor contact | ~6 | ~20
Lectures / theory | Reference material and website references | ~40 hours of classroom instruction and activities
Scope | Basic instrument operation for trainee’s current samples. Additional advanced analytical modules optional, billed at the assisted rate. | Conceptual, theoretical, and practical fundamentals of TEM instrumentation, signal generation and detection, electron sources, resolution, qualitative and quantitative X-ray analysis, EDS hardware, STEM mode, energy-filtered TEM, selected area electron diffraction, analysis, metadata and data presentation
Availability | May be started anytime the trainee has research samples ready; subject to staff and instrument availability. | Course runs every fall and spring semester. Typically fills up before the start of the semester so reach out early for a spot.
Peer interaction | None | Weekly interactions with students from many departments
Outcomes | Following successful checkout, independent basic operation of 2200FS; readiness for more optional advanced training. | Ready to independently use or check out on 2200FS TEM; ability to design and carry out TEM experiments on new types of samples; ability to optimize imaging and analysis with a toolbox of strategies; prepared for careers involving electron microscopy and microanalysis.